Water quality in Port Arthur

Student’s Name

Institutional Affiliations

Course Number and Title

Professor’s Name

Due Date

Water quality in Port Arthur

Introduction

Port Arthur, Texas, a coastal community on the Upper Gulf Coast, is highly reliant on its surface waters and uses them for drinking water, recreation, and economic activities. As part of the Golden Triangle petrochemical region, the city faces some unique water quality challenges. Reviewing the recent reports of water quality at the municipality level helps to identify sources of local pollution and environmental impacts, as well as public health affecting the community.

What the most recent municipal water quality report shows

The City of Port Arthur’s annual water quality report provides a summary of the testing done from January 1 to December 31, 2023 (City of Port Arthur Water Utilities Department, 2024). Port Arthur’s drinking water is drawn from surface water sources such as the Neches River Basin, Lower Neches Valley Authority canal system and Port Arthur Reservoir (City of Port Arthur Water Utilities Department, 2024). Because these sources are surface waters, the system was assigned a “medium” susceptibility rating in the Source Water Assessment Plan (SWAP), indicating potential risk of contamination if pollutants enter the watershed and migrate to intake areas.

Overall, the contaminant data show that the water is in compliance with major federal drinking-water standards. Lead and copper levels were below action levels with lead reported at a 90th-percentile value of 0.005 mg/L and copper at 0.313 mg/L (City of Port Arthur Water Utilities Department, 2024). Disinfection byproducts (DBPs) were also below regulatory limits, including haloacetic acids (27 ppb) and total trihalomethanes (24 ppb) (City of Port Arthur Water Utilities Department, 2024). Nitrate concentrations were found to be 0.06 mg/L, which is well below the maximum contaminant level of 10 mg/L (City of Port Arthur Water Utilities Department, 2024).

A water quality issue in the community and where pollution comes from

A realistic water-quality concern for Port Arthur is storm-driven pollution in the Lower Neches River system coupled with industrial contamination pressures associated with a major refinery and shipping corridor. Monitoring research performed in the Lower Neches River indicates that flow rates are positively correlated with E. coli, total suspended solids, and turbidity showing that stormwater runoff is a significant contributor to an increase in bacterial and sediment loads after heavy rainfall (Qian et al., 2024). These conditions frequently lead to muddy waterways, greater health threats in recreational waters and additional challenges to drinking water treatment plants that depend on surface-water sources.

Different sources of pollution impact the quality of the water in the area, depending on land use and weather conditions. Point sources are permitted industrial discharges, wastewater infrastructure, and accidental releases. A study on Hurricane Harvey impacts in the nearby Neches-Brakes Bayou system (Beaumont area) recorded large increases in polycyclic aromatic hydrocarbons (PAHs) weeks after flooding at places adjacent to a Superfund site, and illustrates how contamination can be mobilized into surface waters during extreme events (Rao et al., 2023). Non-point sources such as urban stormwater runoff containing oil residues, road pollutants and fecal matter, and natural processes such as erosion and resuspension of sediments during high flow events also play a role in contaminant distribution (Lloyd et al., 2024).

How the pollution affects the environment and human health

Water pollution in the Port Arthur area has quantifiable effects on ecosystems and public health. Environmental impacts are reflected in sediments, fish and habitat quality. One example is mobilization and persistence of PAHs following major storms. After Hurricane Harvey, Rao et al. (2023) observed large increases in PAH concentrations at sensitive sites in the Neches-Brakes Bayou system, showing that flooding can cause contamination that lasts beyond the immediate storm period. A second example is the presence of long-term pollutants in aquatic organisms. A Sabine Lake fish study by Hernout et al. (2020) found measurable body burdens of PAHs and polychlorinated biphenyls (PCBs), and found that PCB burdens showed biomagnification at higher trophic levels, meaning that contaminants can concentrate upwards through the food web. This process puts stress on fisheries, wildlife and coastal wetlands already impacted by shipping, dredging and hurricanes.

Human health impacts are associated with both environmental exposure and drinking-water processes. One example is risk from consumption of contaminated fish or shellfish, as PCB biomagnification in fish is a cause for increased concern for frequent consumers and for sensitive groups (children and pregnant people). A second example is DBPs that are produced when the disinfectants react with natural organic matter. Sinha et al. (2021) identify trihalomethanes (THMs) and haloacetic acids (HAAs) as potentially carcinogenic disinfection byproducts in drinking water, highlighting the importance of controlling DBP formation through effective treatment and disinfection management. Although Port Arthur's reported THMs (24 ppb) and HAAs (27 ppb) are below federal limits, studies estimate long-term cancer risks of 10-6 to 10-4 under certain exposure conditions (Wang et al., 2025).

Three management practices to minimize water pollution

First, improved industrial and wastewater controls are required for a city like Port Arthur. This includes greater discharge oversight, faster spill detection and better emergency response during high rain, flooding and storm surge. Evidence, from research related to Harvey, shows that the effects of flooding can cause the mobilization of pollutant sources with weeks of risk for contamination, so planning has to be extreme weather-related.

Second, the expansion of stormwater best management practices can minimize runoff pollution, which increases bacteria and turbidity. Detention basins, vegetated swales, rain gardens and improved drainage permit for reduced amounts of bacteria, sediment and nutrients from entering surface waters. Limiting harmful byproducts by decreasing organic material prior to disinfection and immediate public notification can help to protect public health and maintain community trust.

Third, drinking water treatment and communication should be upgraded. Reducing organic material before disinfection can help reduce harmful byproducts and good public notification in times of water issues can help protect the health of the public and build trust.

Conclusion

The quality of water in Port Arthur remains relatively good as per federal standards, but reliance on surface water, industrial activity and frequent storms increase vulnerability. Further monitoring, pollution control measures and effective communication are essential measures to protect water resources and health of people.

References

City of Port Arthur Water Utilities Department. (2024). Port Arthur, Texas 2024 water quality report (consumer confidence report for calendar year 2023). https://www.portarthurtx.gov/DocumentCenter/View/17410/Port-Arthur-2024-Water-Quality-Report

Hernout, B., Leleux, J., Lynch, J., Ramaswamy, K., Faulkner, P., Matich, P., & Hala, D. (2020). The integration of fatty acid biomarkers of trophic ecology with pollutant body-burdens of PAHs and PCBs in four species of fish from Sabine Lake, Texas. Environmental Advances, 1, 100001. https://doi.org/10.1016/j.envadv.2020.100001

Lloyd, J., Lu, K., & Liu, Z. (2024). Investigating concentrations and sources of polycyclic aromatic hydrocarbons in South and Central Texas bays and estuaries along the Gulf of Mexico, USA. Frontiers in Marine Science, 11. https://doi.org/10.3389/fmars.2024.1456717

Qian, Q., He, M., Sun, F., & Liu, X. (2024). Monitoring and evaluation of the water quality of the Lower Neches River, Texas, USA. Water Science and Engineering, 17(1), 21-32. https://www.sciencedirect.com/science/article/pii/S1674237023000947

Rao, B., Reible, D., Athanasiou, D., Lou, H. H., Zhao, R., Fang, J., Drygiannaki, I., Millerick, K., Barragan, N., & Pagnozzi, G. (2023). Environmental impacts of Hurricane Harvey on the Neches-Brakes Bayou River system in Beaumont, Texas. Environmental Management, 71(4), 730-740.

Sinha, R., Gupta, A. K., & Ghosal, P. S. (2021). A review on Trihalomethanes and Haloacetic acids in drinking water: Global status, health impact, insights of control and removal technologies. Journal of Environmental Chemical Engineering, 9(6), 106511. https://www.sciencedirect.com/science/article/abs/pii/S2213343721014883?via%3Dihub

Wang, L., Fang, Z., Zhou, X., Cheng, K., Ren, Y., Li, C., ... & Xu, H. (2025). Health risk assessment via ingestion of disinfection by-products in drinking water. Scientific Reports, 15(1), 1793. https://doi.org/10.1038/s41598-024-84094-9